## !!__UserGuide
Modbus Device Table Definition
User Guide
This workbook is used to define the modbus table of the Powerdale devices.
Note: the automated generator which rely on those XLSX files could also be used to map the modbus table of 3rd party devices, to be polled by a modbus client
Generalities
!!! Greyed out cells SHOULD not be edited by hand.
Doing so will erase the formula they contain.
Device Definition Params
Device
The name of the device
!!! MUST be unique across the whole devices defined
HW rev from
The lowest HW revision the modbus definition is compatible with
!!! Case sensitive
HW rev until
The greatest HW revision the modbus definition is compatible with.
Left blank if no upper limit is known for the HW rev
Map Type
The type identifier of the modbus mapping
Map Rev
The revision of the modbus mapping
Device Definition Columns
Target MBOffset
The wanted offset for the section
Set to -1 to position the section immediatelly after the previous one
!!! An overlap will show an error in the effective offset column
Effective MBOffset
The global modbus offset calculated based on the target offset and the section defintions
!!! Case sensitive
Section Name
The name of the section, from the __SectionDef of modbus_defs.xlsx
Section Version
The version identifier of the section
Instances
The number of repetition of the section
Section ID
The section type identifier
MBSize per Inst
The "unitary" modbus size of one instance of the section
MBSize
The total modbus size of the section
HOWTO Create a new device
Copy the sheet $__DeviceTemplate and name it MYNEWDEVICE, then set the Device definition parameters to the proper values
Note: An existing device could be duplicated if a new hardware revision require to introduce some incompatibility in the modbus tables
HOWTO Edit an existing device
Just add the new section along the existing ones, and/or change the version or instances number
Be sure there is no issue with the modbus offset

## $__Config (hidden)
Global Config Keys - !!! DO NOT EDIT
Config Key | Value
Modbus Defs | modbus_defs_dbnpoller.xlsx

## $__REMOTE__SectionDef (hidden)
Section ID | Section Name | Section Version | Section MBSize
1 | __InfoHeader | 1 | 16
2 | __SectionList | 1 | 3
10 | EEM_MA370_part1 | 1 | 28
11 | EEM_MA370_part2 | 1 | 9
12 | OR_WE_514_part1 | 1 | 41
13 | OR_WE_514_part2 | 1 | 2
14 | SOLIS_4G_3P_part1 | 1 | 38
15 | JANITZA_B23_part1 | 1 | 20
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## $__REMOTE__AccessModes (hidden)
Allowed access modes - !!! DO NOT EDIT
Name
default
no
ro
wo
rw
0
0
0
0
0
0
0
0
0
0
0
0
0

## $__DeviceTemplate
Device |  | MYDEVICE
HW rev from |  | A0
HW rev until |  | FF
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
0 | 0 | __InfoHeader | 1 | 1 | 1 | 16 | 16 | ro | [modbus_defs_dbnpoller.xlsx]__InfoHeader_v1 | Name | 0 | 0 | 0
-1 | 16 | __SectionList | 1 | 2 | 2 | 3 | 6 | ro | [modbus_defs_dbnpoller.xlsx]__SectionList_v1 | Name | 0 | 16 | 16
-1 | 22 | SystemStatus | 1 | 1 | #N/A |  |  | ro | [modbus_defs_dbnpoller.xlsx]SystemStatus_v1 | #REF! | 16 | 6 | 22
100 | 100 | EvseLoader | 1 | 1 | #N/A |  |  | rw | [modbus_defs_dbnpoller.xlsx]EvseLoader_v1 | #REF! | 22 | 0 | 100
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 100 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0

## OR_WE_514
Device |  | OR_WE_514
HW rev from |  | v1
HW rev until
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
304 | 304 | OR_WE_514_part1 | 1 | 1 | 12 | 41 | 41 | ro | [modbus_defs_dbnpoller.xlsx]OR_WE_514_part1_v1 | Name | 0 | 0 | 304
40960 | 40960 | OR_WE_514_part2 | 1 | 1 | 13 | 2 | 2 | ro | [modbus_defs_dbnpoller.xlsx]OR_WE_514_part2_v1 | Name | 304 | 41 | 40960
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 40960 | 2 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0

## OR_WE_514_2
Device |  | OR_WE_514
HW rev from |  | v1
HW rev until
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
304 | 304 | OR_WE_514_part1 | 1 | 1 | 12 | 41 | 41 | ro | [modbus_defs_dbnpoller.xlsx]OR_WE_514_part1_v1 | Name | 0 | 0 | 304
40960 | 40960 | OR_WE_514_part2 | 1 | 1 | 13 | 2 | 2 | ro | [modbus_defs_dbnpoller.xlsx]OR_WE_514_part2_v1 | Name | 304 | 41 | 40960
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 40960 | 2 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0

## EEM_MA370
Device |  | EEM_MA370
HW rev from |  | v1
HW rev until
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
32768 | 32768 | EEM_MA370_part1 | 1 | 1 | 10 | 28 | 28 | ro | [modbus_defs_dbnpoller.xlsx]EEM_MA370_part1_v1 | Name | 0 | 0 | 32768
34816 | 34816 | EEM_MA370_part2 | 1 | 1 | 11 | 9 | 9 | ro | [modbus_defs_dbnpoller.xlsx]EEM_MA370_part2_v1 | Name | 32768 | 28 | 34816
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 34816 | 9 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0

## SOLIS_4G_3P
Device |  | SOLIS_4G_3P
HW rev from |  | v1
HW rev until
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
3004 | 3004 | SOLIS_4G_3P_part1 | 1 | 1 | 14 | 38 | 38 | ro | [modbus_defs_dbnpoller.xlsx]SOLIS_4G_3P_part1_v1 | Name | 0 | 0 | 3004
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 3004 | 38 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0

## JANITZA_B23
Device |  | JANITZA_B23
HW rev from |  | v1
HW rev until
Map Type |  | 1
Map Rev |  | 1
Target MBOffset | Effective MBOffset | Section Name | Section Version | Instances | Section ID | MBSize per Inst | MBSize | Access Mode | RemoteRef | CheckRef | prevoff | prevsize | newoff
19006 | 19006 | JANITZA_B23_part1 | 1 | 1 | 15 | 20 | 20 | ro | [modbus_defs_dbnpoller.xlsx]JANITZA_B23_part1_v1 | Name | 0 | 0 | 19006
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 19006 | 20 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0
[9 empty] | [modbus_defs_dbnpoller.xlsx]_v | #REF! | 0 | 0 | 0